## Slide 1
DBBC3 status and deployment
G. Tuccari
Istituto di Radiostronomia, Italy
Max Planck Institute fuer Radioastronomie, Germany

## Slide 3
DBBC3L-2L2H Architecture
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
32 Gbps
CORE3H
CORE3H

## Slide 4
DBBC3L-4L4H Architecture
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
CORE3H
64 Gbps
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
CORE3H

## Slide 5
DBBC3L-8L8H Architecture
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
128 Gbps
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H
ADB3L
GCOMO
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
CORE3H

## Slide 6
VGOS
DBBC3L-8L8H

## Slide 7
GCoMo

## Slide 8
DBBC3L-2L2H Architecture
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
32 Gbps
CORE3H
CORE3H

## Slide 10
DBBC3L-2L2H Architecture
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
32 Gbps
CORE3H
CORE3H

## Slide 11
ADB3L
Number of IFs: 1 - 4
Equivalent Sample Rate IF: 8 GSps
Instantaneous bandwidth: 4 GHz
Sampling representation: 10 bit
Real/Complex Sampling
Compatibility with existing DBBC

## Slide 12
ADB3L and Phase Adapter

## Slide 13
DBBC3L-2L2H Architecture
ADB3L
ADB3L
4 GHz (1st Nyq)
GCOMO
GCOMO
4 GHz in 4 -15 GHz
4 GHz (1st Nyq)
4 GHz in 4 -15 GHz
32 Gbps
CORE3H
CORE3H

## Slide 14
CORE3H
Input bus: HSI & HSI2
Input sampling representation: 8-10 bit
Input bandwidth : 1 x 4GHz, 2 x 2GHz,
4 x 1GHz
Processing capability: DCS, DDC/PFB
Max Output: 8 x 10GE SFP+
Inter-board bus: 8 Input 10GE SFP+
Compatibility with existing DBBC environment

## Slide 15
ADB3L +
CORE3H

## Slide 16
VGOS
DBBC3L-8L8H
GPS
GCAT
USB-RS232
PCI distribution

## Slide 17
DBBC3 Calibration
Necessary for good operations with interleaved sampling without artifacts
Values for delay, offset and gain need to be determined
Needs to be done after assembly of DBBC3 or after any hardware modifications

## Slide 18
Control-Software and config-Files
● Control software: DBBC3 Control.exe
● Client: DBBC client v4.exe
● 3 types of config-files
– Main config file: dbbc3_config_file_300.txt
– Sampler settings: config_adb3l.txt
– Core3H settings: dsc_core3H_1.fila10g

## Slide 24
DBBC3 Firmware:
Different packages for the modes (.bit, .exe, .txt, .doc)
DSC: 0- 4 GHz —-> operational
OCT1: 0-2, 2-4 GHz —-> operational
  0-1, 1-2, 2-3, 3-4 GHz —-> operational
0.5-1.0, 1.0-1.5, ……, 3.5-4.0 GHz —-> operational
OCT2: 2 filters as above at the same time per IF —-> operational
DDC-L: 16 bbc (U&L) 2-4-8-16 MHz tunable in 4GHz —-> operational
(legacy) 32 bands tunable PFB 2-4-8-16 MHz block in 4GHz —-> operational
DDC-V: 12 bbc (U&L) full 32MHz tunable in 4GHz —-> operational
(VGOS) 24 bands 32 MHz PFB block tunable in 4GHz —-> operational
16 bbc (U&L) tunable full 32MHz in 4GHz —-> in progress
    32 bands tunable 32 MHz PFB block in 4GHz —-> in progress

## Slide 25
DBBC3 New hardware under development:
A new class of samplers to be coupled by optical fibers to the CORE3H
ADB3H1: Double polarizations, 0 - 16 GHz, 8-bit
ADB3H2: Double polarizations, 0 - 24 GHz, 8-bit
ADB3H3: Double polarizations, 0 - 28 GHz, 8-bit

## Slide 26
DBBC3 systems delivered and under construction:
APEX, DBBC3-4L4H
PICO VELETA, DBBC3-4L4H
HOBART, DBBC3-6L6H
YEBES, DBBC3-2L2H, GCoMO/CoMo
ONSALA1, DBBC3-8L8H
ONSALA2, DBBC3-8L8H
NyALESUND1, DBBC3-8L8H
NyALESUND2, DBBC3-8L8H
EFFELBERG, DBBC3-2L2H
KOREA (NGII), DBBC3-2L2H
KATHERINE, DBBC3-6L6H
YARRAGDEE, DBBC3-6L6H
WETTZELL, DBBC3-8L8H
SHESHAN, DBBC3-8L8H
METSAHOVI(FGRI), DBBC3-8L8H